## PIP Data Elements
Note:
1. Includes guided wave radar (GWR), capacitance, conductivity, ultrasonic, and other types of level probes.
Data Category | PIP Data Element Label | PIP Field Identifier | Flow | Level | Pressure | Temperature | Control Valves
Auxiliary Relays | Contact Arrangement Relay 1 | spec_relay1_contact_arrangement | x | x | x | x
Auxiliary Relays | Contact Arrangement Relay 2 | spec_relay2_contact_arrangement | x | x | x | x
Auxiliary Relays | Number of Relays | spec_number_of_relays | x | x | x | x
Auxiliary Relays | On Increase Relay1 | spec_relay1_on_increase | x | x | x | x
Auxiliary Relays | On Increase Relay2 | spec_relay2_on_increase | x | x | x | x
Auxiliary Relays | Relay Rating | spec_relay_rating | x | x | x | x
Auxiliary Relays | Set Point 1 | spec_relay1_set_point | x | x | x | x
Auxiliary Relays | Set Point 2 | spec_relay2_set_point | x | x | x | x
Control Valves | Line Size - Inlet | spec_line_size_inlet |  |  |  |  | x
Control Valves | Line Size - Outlet | spec_line_size_outlet |  |  |  |  | x
Control Valves | Pipe Insulation | spec_pipe_insulation |  |  |  |  | x
Control Valves | Pipe Schedule - Inlet | spec_pipe_schedule_inlet |  |  |  |  | x
Control Valves | Pipe Schedule - Outlet | spec_pipe_schedule_outlet |  |  |  |  | x
Control Valves | Valve Actuator Area | spec_valve_actuator_area |  |  |  |  | x
Control Valves | Valve Actuator Bench Range | spec_valve_actuator_bench_range |  |  |  |  | x
Control Valves | Valve Actuator Handwheel Location | spec_valve_actuator_handwheel_location |  |  |  |  | x
Control Valves | Valve Actuator Handwheel Type | spec_valve_actuator_handwheel_type |  |  |  |  | x
Control Valves | Valve Actuator Lock-Up | spec_valve_actuator_lock_up |  |  |  |  | x
Control Valves | Valve Actuator Manufacturer | spec_valve_actuator_manufacturer |  |  |  |  | x
Control Valves | Valve Actuator Model | spec_valve_actuator_model |  |  |  |  | x
Control Valves | Valve Actuator Orientation | spec_valve_actuator_orientation |  |  |  |  | x
Control Valves | Valve Actuator Size | spec_valve_actuator_size |  |  |  |  | x
Control Valves | Valve Actuator Sizing Factor | spec_valve_actuator_sizing_factor |  |  |  |  | x
Control Valves | Valve Actuator Type | spec_valve_actuator_type |  |  |  |  | x
Control Valves | Valve Air Set Filter | spec_valve_air_set_filter |  |  |  |  | x
Control Valves | Valve Air Set Gauge | spec_valve_air_set_gauge |  |  |  |  | x
Control Valves | Valve Air Set Manufacturer | spec_valve_air_set_manufacturer |  |  |  |  | x
Control Valves | Valve Air Set Model | spec_valve_air_set_model |  |  |  |  | x
Control Valves | Valve Air Set Set Pressure | spec_valve_air_set_set_pressure |  |  |  |  | x
Control Valves | Valve Assembly Estimated Weight | spec_valve_assembly_estimated_weight |  |  |  |  | x
Control Valves | Valve Assembly Overall Height | spec_valve_assembly_overall_height |  |  |  |  | x
Control Valves | Valve Assembly Removal Clearance | spec_valve_assembly_removal_clearance |  |  |  |  | x
Control Valves | Valve Ball/Disk Material | spec_valve_ball_disk_material |  |  |  |  | x
Control Valves | Valve Ball/Disk Type | spec_valve_ball_disk_type |  |  |  |  | x
Control Valves | Valve Bellows Seal Material | spec_valve_bellows_seal_material |  |  |  |  | x
Control Valves | Valve Body ANSI Class | spec_valve_body_ansi_class |  |  |  |  | x
Control Valves | Valve Body Material | spec_valve_body_material |  |  |  |  | x
Control Valves | Valve Body Size | spec_valve_body_size |  |  |  |  | x
Control Valves | Valve Body Type | spec_valve_body_type |  |  |  |  | x
Control Valves | Valve Body/Bonnet Bolting Material | spec_valve_body_bonnet_bolting_material |  |  |  |  | x
Control Valves | Valve Bonnet Gasket Material | spec_valve_bonnet_gasket_material |  |  |  |  | x
Control Valves | Valve Bonnet Material | spec_valve_bonnet_material |  |  |  |  | x
Control Valves | Valve Bonnet Type | spec_valve_bonnet_type |  |  |  |  | x
Control Valves | Valve Cage Material | spec_valve_cage_material |  |  |  |  | x
Control Valves | Valve End Connection Rating | spec_valve_end_connection_rating |  |  |  |  | x
Control Valves | Valve End Connection Type | spec_valve_end_connection_type |  |  |  |  | x
Control Valves | Valve Face-to-Face Standard | spec_valve face_to_face standard |  |  |  |  | x
Control Valves | Valve Flange Facing Finish | spec_valve_flange_facing_finish |  |  |  |  | x
Control Valves | Valve Flow Action | spec_valve_flow_action |  |  |  |  | x
Control Valves | Valve Flow Direction | spec_valve_flow_direction
Control Valves | Valve Guide Bushing Material | spec_valve_guide_bushing_material |  |  |  |  | x
Control Valves | Valve Guide/Retainer Material | spec_valve_guide_retainer_material |  |  |  |  | x
Control Valves | Valve Hard Facing/Coating | spec_valve_hard_facing_coating |  |  |  |  | x
Control Valves | Valve Hydro Pressure Test | spec_valve_hydro_pressure_test |  |  |  |  | x
Control Valves | Valve Leak Test | spec_valve_leak_test |  |  |  |  | x
Control Valves | Valve Lining Material | spec_valve_lining_material |  |  |  |  | x
Control Valves | Valve Lubricator Isolation Valve | spec_valve_lubricator_isolation_valve |  |  |  |  | x
Control Valves | Valve Maximum Shaft Leakage Rate | spec_valve_maximum_shaft_leakage_rate |  |  |  |  | x
Control Valves | Valve Maximum Stem Leakage Rate | spec_valve_maximum_stem_leakage_rate |  |  |  |  | x
Control Valves | Valve Number of Ports | spec_valve_number_of_ports |  |  |  |  | x
Control Valves | Valve Packing Flange Bolting Material | spec_valve_packing_flange_bolting_material |  |  |  |  | x
Control Valves | Valve Packing Lubricator | spec_valve_packing_lubricator |  |  |  |  | x
Control Valves | Valve Packing Material | spec_valve_packing_material |  |  |  |  | x
Control Valves | Valve Plug Action | spec_valve_plug_action |  |  |  |  | x
Control Valves | Valve Plug Balanced or Unbalanced | spec_valve_plug_balanced_or_unbalanced |  |  |  |  | x
Control Valves | Valve Plug Guiding | spec_valve_plug_guiding |  |  |  |  | x
Control Valves | Valve Plug Material | spec_valve_plug_material |  |  |  |  | x
Control Valves | Valve Position Switch Actuation Points | spec_valve_position_switch_actuation_points |  |  |  |  | x
Control Valves | Valve Position Switch Contact Rating | spec_valve_position_switch_contact_rating |  |  |  |  | x
Control Valves | Valve Position Switch Contacts | spec_valve_position_switch_contacts |  |  |  |  | x
Control Valves | Valve Position Switch Manufacturer | spec_valve_position_switch_manufacturer |  |  |  |  | x
Control Valves | Valve Position Switch Model | spec_valve_position_switch_model |  |  |  |  | x
Control Valves | Valve Position Switch Quantity | spec_valve_position_switch_quantity |  |  |  |  | x
Control Valves | Valve Position Switch Type | spec_valve_position_switch_type |  |  |  |  | x
Control Valves | Valve Positioner Accuracy | spec_valve_positioner_accuracy |  |  |  |  | x
Control Valves | Valve Positioner Bypass Manifold | spec_valve_positioner_bypass_manifold |  |  |  |  | x
Control Valves | Valve Positioner Cable Entry | spec_valve_positioner_cable_entry |  |  |  |  | x
Control Valves | Valve Positioner Cam Characteristic | spec_valve_positioner_cam_characteristic |  |  |  |  | x
Control Valves | Valve Positioner Certification Type | spec_valve_positioner_certification_type |  |  |  |  | x
Control Valves | Valve Positioner Digital Communication | spec_valve_positioner_digital_communication |  |  |  |  | x
Control Valves | Valve Positioner Electrical Connection | spec_valve_positioner_electrical_connection |  |  |  |  | x
Control Valves | Valve Positioner EMI Susceptibility | spec_valve_positioner_emi_susceptibility |  |  |  |  | x
Control Valves | Valve Positioner Enclosure Material | spec_valve_positioner_enclosure_material |  |  |  |  | x
Control Valves | Valve Positioner Enclosure Type | spec_valve_positioner_enclosure_type |  |  |  |  | x
Control Valves | Valve Positioner Gauges | spec_valve_positioner_gauges |  |  |  |  | x
Control Valves | Valve Positioner Inlet Signal | spec_valve_positioner_inlet_signal |  |  |  |  | x
Control Valves | Valve Positioner Manufacturer | spec_valve_positioner_manufacturer |  |  |  |  | x
Control Valves | Valve Positioner Model | spec_valve_positioner_model |  |  |  |  | x
Control Valves | Valve Positioner Outlet Signal | spec_valve_positioner_outlet_signal |  |  |  |  | x
Control Valves | Valve Positioner Signal Action | spec_valve_positioner_signal_action |  |  |  |  | x
Control Valves | Valve Positioner Signal Power Source | spec_valve_positioner_signal_power_source |  |  |  |  | x
Control Valves | Valve Positioner Tubing Material | spec_valve_positioner_tubing_material |  |  |  |  | x
Control Valves | Valve Positioner Tubing Size | spec_valve_positioner_tubing_size |  |  |  |  | x
Control Valves | Valve Seat Ring Material | spec_valve_seat_material |  |  |  |  | x
Control Valves | Valve Shaft Material | spec_valve_shaft_material |  |  |  |  | x
Control Valves | Valve Shaft Seal Type | spec_valve_shaft_seal_type |  |  |  |  | x
Control Valves | Valve Solenoid Body Material | spec_valve_solenoid_body_material |  |  |  |  | x
Control Valves | Valve Solenoid Body Size | spec_valve_solenoid_body_size |  |  |  |  | x
Control Valves | Valve Solenoid Certification Type | spec_valve_solenoid_certification_type |  |  |  |  | x
Control Valves | Valve Solenoid Coil Type | spec_valve_solenoid_coil_type |  |  |  |  | x
Control Valves | Valve Solenoid Manual Reset | spec_valve_solenoid_manual_reset |  |  |  |  | x
Control Valves | Valve Solenoid Manufacturer | spec_valve_solenoid_manufacturer |  |  |  |  | x
Control Valves | Valve Solenoid Model | spec_valve_solenoid_model |  |  |  |  | x
Control Valves | Valve Solenoid Mounting Location | spec_valve_solenoid_mounting_location |  |  |  |  | x
Control Valves | Valve Solenoid Single/Double Coil | spec_valve_solenoid_single_double_coil |  |  |  |  | x
Control Valves | Valve Solenoid Type | spec_valve_solenoid_type |  |  |  |  | x
Control Valves | Valve Solenoid Voltage | spec_valve_solenoid_voltage |  |  |  |  | x
Control Valves | Valve Stem Material | spec_valve_stem_material |  |  |  |  | x
Control Valves | Valve Stem Seal Type | spec_valve_stem_seal_type |  |  |  |  | x
Control Valves | Valve Trim Characteristic | spec_valve_trim_characteristic |  |  |  |  | x
Control Valves | Valve Trim Material | spec_valve_trim_material |  |  |  |  | x
Control Valves | Valve Trim Rated Cv | spec_valve_trim_rated_cv |  |  |  |  | x
Control Valves | Valve Trim Size | spec_valve_trim_size |  |  |  |  | x
Control Valves | Valve Trim Type | spec_valve_trim_type |  |  |  |  | x
Control Valves | Valve Yoke Boss Diameter | spec_valve_yoke_boss_diameter |  |  |  |  | x
Design Conditions | Air Supply Pressure Maximum | pd_air_supply_pressure_max |  |  |  |  | x
Design Conditions | Air Supply Pressure Minimum | pd_air_supply_pressure_min |  |  |  |  | x
Design Conditions | Air Supply Pressure Normal | pd_air_supply_pressure_nor |  |  |  |  | x
Design Conditions | Ambient Temperature at Sensor | pd_ambient_temperature_at_sensor | x
Design Conditions | Ambient Temperature at Transmitter | pd_ambient_temperature_at_transmitter | x
Design Conditions | Ambient Temperature Maximum | pd_temperature_ambient_min | x | x | x | x
Design Conditions | Ambient Temperature Minimum | pd_temperature_ambient_max | x | x | x | x
Design Conditions | Bi-Directional Flow | pd_bi_directional_flow | x
Design Conditions | Buildup Tendency | pd_buildup_tendency | x | x | x | x | x
Design Conditions | Compressibility Factor | pd_compressibility_factor | x | x | x | x
Design Conditions | Conductivity Maximum | pd_conductivity_max | x | x | x | x
Design Conditions | Conductivity Minimum | pd_conductivity_min | x | x | x | x
Design Conditions | Conductivity Normal | pd_conductivity_nor | x | x | x | x
Design Conditions | Corrosive | pd_corrosive | x | x | x | x | x
Design Conditions | Critical Pressure | pd_critical_pressure | x |  |  |  | x
Design Conditions | Density Maximum | pd_density_max | x | x | x | x | x
Design Conditions | Density Minimum | pd_density_min | x | x | x | x | x
Design Conditions | Density Normal | pd_density_nor | x | x | x | x | x
Design Conditions | Dielectric Constant | pd_dielectric_constant | x | x | x | x
Design Conditions | Differential Pressure at Shut Off | pd_diff_press_shut_off |  |  |  |  | x
Design Conditions | Differential Pressure Maximum | pd_diff_press_max | x |  | x
Design Conditions | Differential Pressure Minimum | pd_diff_press_min | x |  | x
Design Conditions | Entrained Gas | pd_entrained_gas | x
Design Conditions | Erosive | pd_erosive | x | x | x | x | x
Design Conditions | Flow Coefficient (Cv) Maximum | pd_flow_coefficient_Cv_max |  |  |  |  | x
Design Conditions | Flow Coefficient (Cv) Minimum | pd_flow_coefficient_Cv_min |  |  |  |  | x
Design Conditions | Flow Coefficient (Cv) Normal | pd_flow_coefficient_Cv_nor |  |  |  |  | x
Design Conditions | Flow Max Velocity | pd_flow_max_velocity | x |  |  |  | x
Design Conditions | Flow Rate Maximum | pd_flow_max | x |  |  |  | x
Design Conditions | Flow Rate Minimum | pd_flow_min | x |  |  |  | x
Design Conditions | Flow Rate Normal | pd_flow_nor | x |  |  |  | x
Design Conditions | Fluid Conductivity | pd_fluid_conductivity | x | x
Design Conditions | Foaming | pd_foaming | x | x
Design Conditions | Fouling | pd_fouling |  |  |  |  | x
Design Conditions | Inlet Compressibility | pd_inlet_compressibility | x |  |  |  | x
Design Conditions | Molecular Weight | pd_molecular_weight | x | x | x | x | x
Design Conditions | Pressure Base (Standard Conditions) | pd_press_base | x | x | x | x
Design Conditions | Pressure Design | pd_press_design | x | x | x | x | x
Design Conditions | Pressure Drop Maximum | pd_press_drop_max | x |  |  |  | x
Design Conditions | Pressure Drop Minimum | pd_press_drop_min | x |  |  |  | x
Design Conditions | Pressure Drop Normal | pd_press_drop_nor | x |  |  |  | x
Design Conditions | Pressure Inlet | pd_press_inlet |  |  |  |  | x
Design Conditions | Pressure Maximum | pd_press_max | x | x | x | x | x
Design Conditions | Pressure Minimum | pd_press_min | x | x | x | x | x
Design Conditions | Pressure Normal | pd_press_nor | x | x | x | x | x
Design Conditions | Pressure Outlet | pd_press_outlet |  |  |  |  | x
Design Conditions | Process Material Composition | pd_material_composition | x |  |  |  | x
Design Conditions | Process Material Name | pd_material_name | x | x | x | x | x
Design Conditions | Process Material Phase | pd_material_phase | x | x | x | x | x
Design Conditions | Pulsation | pd_pulsation | x
Design Conditions | Reference Leg Fluid Level | pd_reference_leg_fluid_level |  | x
Design Conditions | Reference Line Tangent/Center | pd_reference_line_tangent_center |  | x
Design Conditions | Reference Tank Bottom | pd_reference_tank_bottom |  | x
Design Conditions | Reynolds Number - Maximum | pd_reynolds_no_max | x
Design Conditions | Reynolds Number - Minimum | pd_reynolds_no_min | x
Design Conditions | Selected Flow Coefficient (Cv) | pd_selected_flow_coefficient_Cv |  |  |  |  | x
Design Conditions | Solidifying | pd_solidfy | x | x | x | x | x
Design Conditions | Sound Pressure Level - Allowable | pd_sound_pressure_level_allowable |  |  |  |  | x
Design Conditions | Sound Pressure Level - Predicted - Maximum | pd_sound_pressure_level_predicted_max |  |  |  |  | x
Design Conditions | Sound Pressure Level - Predicted - Minimum | pd_sound_pressure_level_predicted_min |  |  |  |  | x
Design Conditions | Sound Pressure Level - Predicted - Normal | pd_sound_pressure_level_predicted_nor |  |  |  |  | x
Design Conditions | Special Cleaning Requirement | pd_special_cleaning | x | x | x | x | x
Design Conditions | Specific Gravity Base | pd_spec_grav_base | x | x | x | x | x
Design Conditions | Specific Gravity Normal | pd_spec_grav_nor | x | x | x | x | x
Design Conditions | Specific Heat Ratio | pd_specific_heat | x | x | x | x | x
Design Conditions | Straight Run Required Downstream | pd_straight_run_required_downstream | x
Design Conditions | Straight Run Required Upstream | pd_straight_run_required_upstream | x
Design Conditions | Surface Turbulence | pd_surface_turbulence |  | x
Design Conditions | Temperature Base (Standard Conditions) | pd_temp_base | x | x | x | x
Design Conditions | Temperature Design | pd_temp_design | x | x | x | x | x
Design Conditions | Temperature Maximum | pd_temp_max | x | x | x | x | x
Design Conditions | Temperature Minimum | pd_temp_min | x | x | x | x | x
Design Conditions | Temperature Normal | pd_temp_nor | x | x | x | x | x
Design Conditions | Toxic | pd_toxic | x | x | x | x | x
Design Conditions | Valve Fail Position | pd_valve_fail_position |  |  |  |  | x
Design Conditions | Valve Leakage Class | pd_valve_leakage_class |  |  |  |  | x
Design Conditions | Valve Operating Speed (seconds) | pd_valve_operating_speed_seconds |  |  |  |  | x
Design Conditions | Valve Rated Travel | pd_valve_rated_travel |  |  |  |  | x
Design Conditions | Valve Response Time | pd_valve_response_time |  |  |  |  | x
Design Conditions | Valve Tight Shutoff | pd_valve_tight_shutoff |  |  |  |  | x
Design Conditions | Valve Travel Maximum Flow | pd_valve_travel_max_flow |  |  |  |  | x
Design Conditions | Valve Travel Minimum Flow | pd_valve_travel_min_flow |  |  |  |  | x
Design Conditions | Valve Travel Normal Flow | pd_valve_travel_nor_flow |  |  |  |  | x
Design Conditions | Vapor Pressure | pd_vapor_press_nor | x |  |  |  | x
Design Conditions | Vessel Internal Diameter | pd_vessel_internal_diameter |  | x
Design Conditions | Vessel Length | pd_vessel_length |  | x
Design Conditions | Vessel Material | pd_vessel_material |  | x
Design Conditions | Vibration | pd_vibration | x | x | x | x | x
Design Conditions | Viscosity Maximum | pd_viscosity_max | x | x | x | x | x
Design Conditions | Viscosity Minimum | pd_viscosity_min | x | x | x | x | x
Design Conditions | Viscosity Normal | pd_viscosity_nor | x | x | x | x | x
Element Head | Cable Connection Size | spec_head_cable_connection_size |  |  |  | x
Element Head | Connection Type (Conduit/Cable) | spec_head_connection_type |  |  |  | x
Element Head | Material | spec_head_material |  |  |  | x
Element Head | Nipple Size | spec_head_nipple_size |  |  |  | x
Element Head | Nipple Union Length | spec_head_nipple_union_length |  |  |  | x
Element Head | Spring Loaded | spec_head_spring_loaded |  |  |  | x
Element Head | Terminal Block | spec_head_terminal_block |  |  |  | x
Element Head | Type | spec_head_type |  |  |  | x
Element Head | Union | spec_head_union |  |  |  | x
Filled System | Armor Material | spec_fill_armor_material |  |  |  | x
Filled System | Bulb Construction | spec_fill_bulb_construction |  |  |  | x
Filled System | Bulb Diameter | spec_fill_bulb_diameter |  |  |  | x
Filled System | Bulb Length | spec_fill_bulb_length |  |  |  | x
Filled System | Bulb Type | spec_fill_bulb_type |  |  |  | x
Filled System | Capillary Length | spec_fill_capillary_length |  |  |  | x
Filled System | Capillary Material | spec_fill_capillary_material |  |  |  | x
Filled System | Compensation | spec_fill_compensation |  |  |  | x
Filled System | Type | spec_fill_type |  |  |  | x
Flow Averaging Pitot | Averaging Pitot Head Type | spec_averaging_pitot_head_type | x
Flow Averaging Pitot | Averaging Pitot Integral Temperature Sensor | spec_averaging_pitot_integral_temperature_sensor | x
Flow Averaging Pitot | Averaging Pitot Material | spec_averaging_pitot_material | x
Flow Averaging Pitot | Averaging Pitot Opposite Side Support | spec_averaging_pitot_opposite_side_support | x
Flow Averaging Pitot | Averaging Pitot Packing Gland Material | spec_averaging_pitot_packing_gland_material | x
Flow Averaging Pitot | Averaging Pitot Sensor Outlet Diameter | spec_averaging_pitot_sensor_outlet_diameter | x
Flow Averaging Pitot | Averaging Pitot Type | spec_averaging_pitot_type | x
Flow Coriolis | Corilois Distance to Transmitter | spec_corilois_distance_to_transmitter | x
Flow Coriolis | Corilois Tube Coating | spec_corilois_tube_coating | x
Flow Coriolis | Coriolis Nominal Size | spec_coriolis_nominal_size | x
Flow Coriolis | Coriolis Tube Internal Diameter | spec_coriolis_tube_internal_diameter | x
Flow Coriolis | Coriolis Tube Lining | spec_coriolis_tube_lining | x
Flow Coriolis | Coriolis Tube Material | spec_coriolis_tube_material | x
Flow Magnetic | Magmeter Casing | spec_magmeter_casing | x
Flow Magnetic | Magmeter Connecction Materials | spec_magmeter_connecction_materials | x
Flow Magnetic | Magmeter Connection Rating | spec_magmeter_connecction_materials | x
Flow Magnetic | Magmeter Connection Size | spec_magmeter_connection_rating | x
Flow Magnetic | Magmeter Connection Type | spec_magmeter_connection_size | x
Flow Magnetic | Magmeter Electrode Material | spec_magmeter_electrode_material | x
Flow Magnetic | Magmeter Electrode Type | spec_magmeter_electrode_type | x
Flow Magnetic | Magmeter Grounding Type | spec_magmeter_grounding_type | x
Flow Magnetic | Magmeter Liner Material | spec_magmeter_liner_material | x
Flow Magnetic | Magmeter Power Supply | spec_magmeter_power_supply | x
Flow Magnetic | Magmeter Signal Cable Length | spec_magmeter_signal_cable_length | x
Flow Magnetic | Magmeter Tube Material | spec_magmeter_tube_material | x
Flow Nozzle | Nozzle Beta Ratio | spec_nozzle_beta_ratio | x
Flow Nozzle | Nozzle DP at Full Scale | spec_nozzle_dp_at_full_scale | x
Flow Nozzle | Nozzle Ellipse Semi-Major Axis | spec_nozzle_ellipse_semi_major_axis | x
Flow Nozzle | Nozzle Ellipse Semi-Minor Axis | spec_nozzle_ellipse_semi_minor_axis | x
Flow Nozzle | Nozzle Flange Thickness | spec_nozzle_flange_thickness | x
Flow Nozzle | Nozzle Flow Full Scale | spec_nozzle_flow_full_scale | x
Flow Nozzle | Nozzle Form | spec_nozzle_form | x
Flow Nozzle | Nozzle Material | spec_nozzle_material | x
Flow Nozzle | Nozzle Mounting | spec_nozzle_mounting | x
Flow Nozzle | Nozzle Sub Type | spec_nozzle_sub_type | x
Flow Nozzle | Nozzle Taps Orientation | spec_nozzle_taps_orientation | x
Flow Nozzle | Nozzle Taps Size | spec_nozzle_taps_size | x
Flow Nozzle | Nozzle Taps Type | spec_nozzle_taps_type | x
Flow Nozzle | Nozzle Throat Diameter | spec_nozzle_throat_diameter | x
Flow Nozzle | Nozzle Type | spec_nozzle_type | x
Flow Nozzle | Nozzle Wall Thickness | spec_nozzle_wall_thickness | x
Flow Orifice Plate | Orifice Chamber Material | spec_orifice_chamber_material | x
Flow Orifice Plate | Orifice Chamber Type | spec_orifice_chamber_type | x
Flow Orifice Plate | Orifice Downstream Length | spec_orifice_downstream_length | x
Flow Orifice Plate | Orifice DP at Full Scale 1 | spec_orifice_dp_at_full_scale_1 | x
Flow Orifice Plate | Orifice DP at Full Scale 2 | spec_orifice_dp_at_full_scale_2 | x
Flow Orifice Plate | Orifice Flange Bolting Material | spec_orifice_flange_bolting_material | x
Flow Orifice Plate | Orifice Flange Centering Dowel Pins | spec_orifice_flange_centering_dowel_pins | x
Flow Orifice Plate | Orifice Flange Facing Finish | spec_orifice_flange_facing_finish | x
Flow Orifice Plate | Orifice Flange Gasket Material | spec_orifice_flange_gasket_material | x
Flow Orifice Plate | Orifice Flange Jack Screw Material | spec_orifice_flange_jack_screw_material | x
Flow Orifice Plate | Orifice Flange Material | spec_orifice_flange_material | x
Flow Orifice Plate | Orifice Flange Rating | spec_orifice_flange_rating | x
Flow Orifice Plate | Orifice Flange Size | spec_orifice_flange_size | x
Flow Orifice Plate | Orifice Flange Type | spec_orifice_flange_type | x
Flow Orifice Plate | Orifice Flow Conditioner Material | spec_orifice_flow_conditioner_material | x
Flow Orifice Plate | Orifice Flow Conditioner Type | spec_orifice_flow_conditioner_type | x
Flow Orifice Plate | Orifice Flow Full Scale 1 | spec_orifice_flow_full_scale_1 | x
Flow Orifice Plate | Orifice Flow Full Scale 2 | spec_orifice_flow_full_scale_2 | x
Flow Orifice Plate | Orifice Holder Material | spec_orifice_holder_material | x
Flow Orifice Plate | Orifice Holder Rating | spec_orifice_holder_rating | x
Flow Orifice Plate | Orifice Holder Type | spec_orifice_holder_type | x
Flow Orifice Plate | Orifice Plate API Ring Number | spec_orifice_plate_api_ring_no | x
Flow Orifice Plate | Orifice Plate Bore Diameter | spec_orifice_plate_bore_diameter | x
Flow Orifice Plate | Orifice Plate Bore Type | spec_orifice_plate_bore_type | x
Flow Orifice Plate | Orifice Plate Diameter Ratio (Beta) | spec_orifice_plate_diameter_ratio_(beta) | x
Flow Orifice Plate | Orifice Plate Drain Hole Location | spec_orifice_plate_drain_hole_location | x
Flow Orifice Plate | Orifice Plate Drain Hole Size | spec_orifice_plate_drain_hole_size | x
Flow Orifice Plate | Orifice Plate Inlet Edge Style | spec_orifice_plate_inlet_edge_style | x
Flow Orifice Plate | Orifice Plate Material | spec_orifice_plate_material | x
Flow Orifice Plate | Orifice Plate Nominal Size | spec_orifice_plate_nominal_size | x
Flow Orifice Plate | Orifice Plate Outside Diameter | spec_orifice_plate_outside_diameter | x
Flow Orifice Plate | Orifice Plate Removal Clearance | spec_orifice_plate_removal_clearance | x
Flow Orifice Plate | Orifice Plate Roughness | spec_orifice_plate_roughness | x
Flow Orifice Plate | Orifice Plate Seal Material | spec_orifice_plate_seal_material | x
Flow Orifice Plate | Orifice Plate Stampings Required | spec_orifice_plate_stampings_required | x
Flow Orifice Plate | Orifice Plate Thickness | spec_orifice_plate_thickness | x
Flow Orifice Plate | Orifice Plate Type | spec_orifice_plate_type | x
Flow Orifice Plate | Orifice Plate Vent Hole Location | spec_orifice_plate_vent_hole_location | x
Flow Orifice Plate | Orifice Plate Vent Hole Size | spec_orifice_plate_vent_hole_size | x
Flow Orifice Plate | Orifice Taps Orientation | spec_orifice_taps_orientation | x
Flow Orifice Plate | Orifice Taps Size | spec_orifice_taps_size | x
Flow Orifice Plate | Orifice Taps Type | spec_orifice_taps_type | x
Flow Orifice Plate | Orifice Upstream Length | spec_orifice_upstream_length | x
Flow Pitot | Pitot DP Connection Size | spec_pitot_dp_connection_size | x
Flow Pitot | Pitot DP Connection Type | spec_pitot_dp_connection_type | x
Flow Pitot | Pitot Line Connection Rating | spec_pitot_line_connection_rating | x
Flow Pitot | Pitot Line Connection Size | spec_pitot_line_connection_size | x
Flow Pitot | Pitot Line Nozzle Projection | spec_pitot_line_nozzle_projection | x
Flow Pitot | Pitot Line Orientation | spec_pitot_line_orientation | x
Flow Pitot | Pitot Meter Type | spec_pitot_meter_type | x
Flow Pitot | Pitot Sensor Position | spec_pitot_sensor_position | x
Flow Pitot | Pitot Type | spec_pitot_type | x
Flow Positive Displacement | PD Counter Display Digits | spec_pdcounter_display_digits | x
Flow Positive Displacement | PD Counter Register Type | spec_pdcounter_register_type | x
Flow Positive Displacement | PD Counter Reset | spec_pdcounter_reset | x
Flow Positive Displacement | PD Counter Set Stop | spec_pdcounter_set_stop | x
Flow Positive Displacement | PD Meter | spec_pdmeter | x
Flow Positive Displacement | PD Meter Bearing Material | spec_pdmeter_bearing_material | x
Flow Positive Displacement | PD Meter Bearing Type | spec_pdmeter_bearing_type | x
Flow Positive Displacement | PD Meter Blade Material | spec_pdmeter_blade_material | x
Flow Positive Displacement | PD Meter Packing Type | spec_pdmeter_packing_type | x
Flow Positive Displacement | PD Meter Proving Signal (Amps) | spec_pdmeter_proving_signal_(amps) | x
Flow Positive Displacement | PD Meter Proving Signal (Hz) | spec_pdmeter_proving_signal_(hz) | x
Flow Positive Displacement | PD Meter Proving Signal (Volts) | spec_pdmeter_proving_signal_(volts) | x
Flow Positive Displacement | PD Meter Rotating Element Material | spec_pdmeter_rotating_element_material | x
Flow Positive Displacement | PD Meter Shaft Material | spec_pdmeter_shaft_material | x
Flow Positive Displacement | PD Meter Type of Element | spec_pdmeter_type_of_element | x
Flow Positive Displacement | PD Xmtr Frequency Range (Hz) | spec_pdxmtr_frequency_range_(hz) | x
Flow Positive Displacement | PD Xmtr Input Impedance (Ohms) | spec_pdxmtr_input_impedance_(ohms) | x
Flow Positive Displacement | PD Xmtr Loop Resistance (Ohms) | spec_pdxmtr_loop_resistance_(ohms) | x
Flow Positive Displacement | PD Xmtr Pulse Amplitude Volts | spec_pdxmtr_pulse_amplitude_volts | x
Flow Positive Displacement | PD Xmtr Pulse Off Time (Minutes) | spec_pdxmtr_pulse_off_time_(minutes) | x
Flow Positive Displacement | PD Xmtr Pulse On Time (Minutes) | spec_pdxmtr_pulse_on_time_(minutes) | x
Flow Thermal Mass | Thermal Element Body Length | spec_thermal_element_body_length | x
Flow Thermal Mass | Thermal Element Distance to Xmtr | spec_thermal_element_distance_to_xmtr | x
Flow Thermal Mass | Thermal Element Insertion Length | spec_thermal_element_insertion_length | x
Flow Thermal Mass | Thermal Element Installation Method | spec_thermal_element_installation_method | x
Flow Thermal Mass | Thermal Element Wetted Materials | spec_thermal_element_wetted_materials | x
Flow Turbine | Turbine Air Eliminator | spec_turbine_air_eliminator | x
Flow Turbine | Turbine Blade Material | spec_turbine_blade_material | x
Flow Turbine | Turbine Packing Material | spec_turbine_packing_material | x
Flow Turbine | Turbine Piston Element Material | spec_turbine_piston_element_material | x
Flow Turbine | Turbine Shaft Material | spec_turbine_shaft_material | x
Flow Turbine | Turbine Strainer Mesh | spec_turbine_strainer_mesh | x
Flow Turbine | Turbine Strainer Size | spec_turbine_strainer_size | x
Flow Ultrasonic | Ultrasonic Distance to Electronics | spec_ultrasonic_distance_to_electronics | x
Flow Ultrasonic | Ultrasonic Electronics Location | spec_ultrasonic_electronics_location | x
Flow Ultrasonic | Ultrasonic Lining Material | spec_ultrasonic_lining_material | x
Flow Ultrasonic | Ultrasonic Mounting Style | spec_ultrasonic_mounting_style | x
Flow Ultrasonic | Ultrasonic Number of Sensors | spec_ultrasonic_no_of_sensors | x
Flow Ultrasonic | Ultrasonic Sensor Case Material | spec_ultrasonic_sensor_case_material | x
Flow Ultrasonic | Ultrasonic Sensor Material | spec_ultrasonic_sensor_material | x
Flow Ultrasonic | Ultrasonic Wall Material | spec_ultrasonic_wall_material | x
Flow Variable Area | Variable Area Float Material | spec_variable_area_float_material | x
Flow Variable Area | Variable Area Meter Casing Material | spec_variable_area_meter_casing_material | x
Flow Variable Area | Variable Area Tube Material | spec_variable_area_tube_material | x
Flow V-Cone | V-Cone Beta Ratio | spec_v_cone_beta_ratio | x
Flow V-Cone | V-Cone Flange Material | spec_v_cone_flange_material | x
Flow V-Cone | V-Cone Outside Diameter | spec_v_cone_outside_diameter | x
Flow V-Cone | V-Cone Schedule | spec_v_cone_schedule | x
Flow V-Cone | V-Cone Taps Orientation | spec_v_cone_taps_orientation | x
Flow V-Cone | V-Cone Taps Size | spec_v_cone_taps_size | x
Flow V-Cone | V-Cone Taps Type | spec_v_cone_taps_type | x
Flow V-Cone | V-Cone Tube Material | spec_v_cone_tube_material | x
Flow Venturi | Venturi Beta Ratio | spec_venturi_beta_ratio | x
Flow Venturi | Venturi Conical Convert Length | spec_venturi_conical_convert_length | x
Flow Venturi | Venturi Conical Diverge Angle | spec_venturi_conical_diverge_angle | x
Flow Venturi | Venturi Conical Diverge Length | spec_venturi_conical_diverge_length | x
Flow Venturi | Venturi Entrance Section Length | spec_venturi_entrance_section_length | x
Flow Venturi | Venturi Material | spec_venturi_material | x
Flow Venturi | Venturi Pressure Drop Limit | spec_venturi_pressure_drop_limit | x
Flow Venturi | Venturi Taps Orientation | spec_venturi_taps_orientation | x
Flow Venturi | Venturi Taps Size | spec_venturi_taps_size | x
Flow Venturi | Venturi Taps Type | spec_venturi_taps_type | x
Flow Venturi | Venturi Throat Diameter | spec_venturi_throat_diameter | x
Flow Venturi | Venturi Throat Length | spec_venturi_throat_length | x
Flow Vortex | Vortex Alignment Ring Rating | spec_vortex_alignment_ring_rating | x
Flow Vortex | Vortex Alignment Ring Size | spec_vortex_alignment_ring_size | x
Flow Vortex | Vortex Electrode Material | spec_vortex_electrode_material | x
Flow Vortex | Vortex Face to Face Dimension | spec_vortex_face_to_face_dimension | x
Flow Vortex | Vortex Meter K Factor | spec_vortex_meter_k_factor | x
Flow Vortex | Vortex Minimum Flow Limit | spec_vortex_minimum_flow_limit | x
Flow Vortex | Vortex Mounting Plane | spec_vortex_mounting_plane | x
Flow Vortex | Vortex Sensing Element Material | spec_vortex_sensing_element_material | x
Flow Vortex | Vortex Shedder Bar Material | spec_vortex_shedder_bar_material | x
Flow Wedge | Wedge Element Material | spec_wedge_element_material | x
Flow Wedge | Wedge End to End Dimension | spec_wedge_end_to_end_dimension | x
Flow Wedge | Wedge Flow Tap Size | spec_wedge_flow_tap_size | x
Flow Wedge | Wedge Flow Tap Type | spec_wedge_flow_tap_type | x
Flow Wedge | Wedge Meter Flow Capacity | spec_wedge_meter_flow_capacity | x
Flow Wedge | Wedge Ratio H/D | spec_wedge_ratio_h_d | x
Gauge | Body Material | spec_body_material |  | x
Gauge | Calibrated Scale | spec_calibrated_scale |  | x
Gauge | Case Material | spec_gauge_case_material |  |  | x | x
Gauge | Center-to-Center Distance | spec_center_to_center_distance |  | x
Gauge | Connection Arrangement | spec_connection_arrangement |  | x
Gauge | Connection Size | spec_connection_size |  | x
Gauge | Cover Material | spec_cover_material |  | x
Gauge | Dial Color | spec_gauge_dial_color |  |  | x | x
Gauge | Dial Size | spec_gauge_dial_size |  |  | x | x
Gauge | Distance from Centerline of Vessel | spec_distance_from_centerline_of_vessel |  | x
Gauge | External Calibrator | spec_gauge_external_calibrator |  |  |  | x
Gauge | Float Material | spec_float_material |  | x
Gauge | Float Type | spec_float_type |  | x
Gauge | Frost Extension | spec_frost_extension |  | x
Gauge | Frost Extension Length | spec_frost_extension_length |  | x
Gauge | Gasket Material | spec_gasket_material |  | x
Gauge | Gauge Ball Checks | spec_gauge_ball_checks |  | x
Gauge | Gauge Valve Body Material | spec_gauge_valve_body_material |  | x
Gauge | Gauge Valve Packing Material | spec_gauge_valve_packing_material |  | x
Gauge | Gauge Valve Trim Material | spec_gauge_valve_trim_material |  | x
Gauge | Gauge Valve Type | spec_gauge_valve_type |  | x
Gauge | Hermetically Sealed Case | spec_gauge_hermetically_sealed |  |  | x | x
Gauge | Illuminator | spec_illuminator |  | x
Gauge | Illuminator Power Supply | spec_illuminator_power_supply |  | x
Gauge | Jacket or Internal Tracer | spec_jacket_or_internal_tracer |  | x
Gauge | Number of Gauge Valves Required | spec_no_of_gauge_valves_required |  | x
Gauge | Required Range (max) | pd_required_range_max | x | x | x | x
Gauge | Required Range (min) | pd_required_range_min | x | x | x | x
Gauge | Required Range (uom) | pd_required_range_uid | x | x | x | x
Gauge | Sections Required | spec_sections_required |  | x
Gauge | Shield | spec_shield |  | x
Gauge | Stem Diameter | spec_gauge_stem_diameter |  |  |  | x
Gauge | Stem Length | spec_gauge_stem_length |  |  |  | x
Gauge | Stem Material | spec_gauge_stem_material |  |  |  | x
Gauge | Stem or Union Thread | spec_gauge_stem_or_union_thread |  |  |  | x
Gauge | Stem Position | spec_gauge_stem_position |  |  |  | x
Gauge | Stem Type | spec_gauge_stem_type |  |  |  | x
Gauge | Type | spec_gauge_type | x | x | x | x
Gauge | Visible Length | spec_visible_length |  | x
General Construction | Body Rating - Pressure | spec_body_rating_pressure | x |  |  |  | x
General Construction | Body Rating - Temperature | spec_body_rating_temperature | x |  |  |  | x
General Construction | Bolt Material | spec_bolt_material | x | x | x | x | x
General Construction | Cable Entry | spec_cable_entry | x | x | x | x
General Construction | Chamber Center_to_Center Dimension | spec_chamber_center_to_center_dimension |  | x
General Construction | Chamber Connection Orientation | spec_chamber_connection_orientation |  | x
General Construction | Chamber Lower Connection Rating | spec_chamber_lower_connection_rating |  | x
General Construction | Chamber Lower Connection Size | spec_chamber_lower_connection_size |  | x
General Construction | Chamber Lower Connection Type | spec_chamber_lower_connection_type |  | x
General Construction | Chamber Material | spec_chamber_material |  | x
General Construction | Chamber Rating | spec_chamber_rating |  | x
General Construction | Chamber Size | spec_chamber_size |  | x
General Construction | Chamber Upper Connection Rating | spec_chamber_upper_connection_rating |  | x
General Construction | Chamber Upper Connection Size | spec_chamber_upper_connection_size |  | x
General Construction | Chamber Upper Connection Type | spec_chamber_upper_connection_type |  | x
General Construction | Drain Size | spec_drain_size | x | x | x | x | x
General Construction | Drain Type | spec_drain_type | x | x | x | x | x
General Construction | Electrical Connection | spec_electrical_connection | x | x | x | x
General Construction | Enclosure Type | spec_enclosure_type | x | x | x | x | x
General Construction | End Connection | spec_end_connection | x | x
General Construction | End Connection Rating | spec_end_connection_rating | x | x
General Construction | Head Flange Facing | spec_head_flange_facing |  | x
General Construction | Head Flange Material | spec_head_flange_material |  | x
General Construction | Head Flange Rating | spec_head_flange_rating |  | x
General Construction | Head Flange Size | spec_head_flange_size |  | x
General Construction | Heat Tracing | spec_heat_tracing | x | x | x | x | x
General Construction | Housing Material | spec_housing_material | x | x | x | x | x
General Construction | Housing Type | spec_housing_type | x | x | x | x | x
General Construction | Insulated Enclosure/Housing | spec_insulated_enclosure_housing | x | x | x | x | x
General Construction | Intrinsically Safe Design | spec_intrinsically_safe_design | x | x | x | x | x
General Construction | Local Indicator | spec_local_indicator | x | x | x | x | x
General Construction | Mounting Type | spec_mounting_type | x | x | x | x
General Construction | Paint | spec_paint | x | x | x | x | x
General Construction | Power Supply | spec_power_supply | x | x | x | x | x
General Construction | Process Connection | spec_process_connection | x | x | x | x
General Construction | Process Flanges Material | spec_process_flanges_material | x | x | x | x
General Construction | Purge Fitting | spec_purge_fitting | x | x | x | x | x
General Construction | Retractable Assembly | spec_retractable_assembly | x
General Construction | Stilling Well Connection | spec_stilling_well_connection |  | x
General Construction | Stilling Well Length | spec_stilling_well_length |  | x
General Construction | Stilling Well Material | spec_stilling_well_material |  | x
General Construction | Stilling Well Outside Diameter | spec_stilling_well_outside_diameter |  | x
General Construction | Surge Protection | spec_surge_protection | x | x | x | x | x
General Construction | Vent Size | spec_vent_size | x | x | x | x | x
General Construction | Vent Type | spec_vent_type | x | x | x | x | x
General Data | Application | cmpnt_application | x | x | x | x | x
General Data | Area Name | area_name | x | x | x | x | x
General Data | Control Number | control_no | x | x | x | x | x
General Data | Electrical Area Classification | electrical_area_classification | x | x | x | x | x
General Data | Equipment Number | equipment_no | x | x | x | x | x
General Data | Instrument Type | cmpnt_instrument_type | x | x | x | x | x
General Data | Line Number | line_no | x | x | x | x | x
General Data | Location | cmpnt_location | x | x | x | x | x
General Data | Loop Number | loop_no | x | x | x | x | x
General Data | P&ID Number | PID_dwg_no | x | x | x | x | x
General Data | Plant Name | plant_name | x | x | x | x | x
General Data | Project Name | project_name | x | x | x | x | x
General Data | Project Number | project_no | x | x | x | x | x
General Data | Service | cmpnt_service | x | x | x | x | x
General Data | Tag Number | cmpnt_tag_no | x | x | x | x | x
General Data | Unit Name | unit_name | x | x | x | x | x
General Data | Work Breakdown Structure | work_breakdown_structure | x | x | x | x | x
Instrument Manifold | Manifold Material | spec_manifold_material | x | x | x
Instrument Manifold | Manifold Maximum Pressure Rating | spec_manifold_max_pressure_rating | x | x | x
Instrument Manifold | Manifold Maximum Temperature Rating | spec_manifold_max_temperature_rating | x | x | x
Instrument Manifold | Manifold Packing | spec_manifold_packing | x | x | x
Instrument Manifold | Manifold Process Connection Size | spec_manifold_process_connection_size | x | x | x
Instrument Manifold | Manifold Trim | spec_manifold_trim | x | x | x
Instrument Manifold | Manifold Type | spec_manifold_type | x | x | x
Level - Nuclear | Nuclear Coolant Jacket | spec_nuclear_coolant_jacket |  | x
Level - Nuclear | Nuclear Detector Connection | spec_nuclear_detector_connection |  | x
Level - Nuclear | Nuclear Detector Cooling | spec_nuclear_detector_cooling |  | x
Level - Nuclear | Nuclear Detector Housing Material | spec_nuclear_detector_housing_material |  | x
Level - Nuclear | Nuclear Detector Power Supply | spec_nuclear_detector_power_supply |  | x
Level - Nuclear | Nuclear Detector Preamplifier | spec_nuclear_detector_preamplifier |  | x
Level - Nuclear | Nuclear Detector Sensor Type | spec_nuclear_detector_sensor_type |  | x
Level - Nuclear | Nuclear Detector Shock Mounting | spec_nuclear_detector_shock_mounting |  | x
Level - Nuclear | Nuclear Detector Temp Compensation | spec_nuclear_detector_temp_compensation |  | x
Level - Nuclear | Nuclear Inner Liner | spec_nuclear_inner_liner |  | x
Level - Nuclear | Nuclear Insulation Material | spec_nuclear_insulation_material |  | x
Level - Nuclear | Nuclear Insulation Thickness | spec_nuclear_insulation_thickness |  | x
Level - Nuclear | Nuclear Material Fall Thru Beam | spec_nuclear_material_fall_thru_beam |  | x
Level - Nuclear | Nuclear Source Connection | spec_nuclear_source_connection |  | x
Level - Nuclear | Nuclear Source Decay Compensation | spec_nuclear_source_decay_compensation |  | x
Level - Nuclear | Nuclear Source Housing Material | spec_nuclear_source_housing_material |  | x
Level - Nuclear | Nuclear Source Material | spec_nuclear_source_material |  | x
Level - Nuclear | Nuclear Source Shutter | spec_nuclear_source_shutter |  | x
Level - Nuclear | Nuclear Source Strength | spec_nuclear_source_strength |  | x
Level - Nuclear | Nuclear Source Type | spec_nuclear_source_type |  | x
Level - Nuclear | Nuclear Source Weight | spec_nuclear_source_weight |  | x
Level - Nuclear | Nuclear Structure in Radiation Beam | spec_nuclear_structure_in_radiation_beam |  | x
Level - Nuclear | Nuclear Wall Build-up Density | spec_nuclear_wall_build_up_density |  | x
Level - Nuclear | Nuclear Wall Build-up Thickness | spec_nuclear_wall_build_up_thickness |  | x
Level Displacer | Body or Cage Material | spec_body_cage_material |  | x
Level Displacer | Case Mounting | spec_case_mounting |  | x
Level Displacer | Case Type | spec_case_type |  | x
Level Displacer | Cooling Extension | spec_cooling_extension |  | x
Level Displacer | Displacer Extension | spec_displacer_extension |  | x
Level Displacer | Displacer Insertion Depth | spec_displacer_insertion_depth |  | x
Level Displacer | Displacer Material | spec_displacer_material |  | x
Level Displacer | Displacer Span | spec_displacer_span |  | x
Level Displacer | Lower Connection Location | spec_lower_connection_location |  | x
Level Displacer | Lower Connection Size | spec_lower_connection_size |  | x
Level Displacer | Lower Connection Type | spec_lower_connection_type |  | x
Level Displacer | Orientation | spec_orientation |  | x
Level Displacer | Rotatable Head | spec_rotatable_head |  | x
Level Displacer | Spring Material | spec_spring_material |  | x
Level Displacer | Tube Material | spec_tube_material |  | x
Level Displacer | Upper Connection Location | spec_upper_connection_location |  | x
Level Displacer | Upper Connection Size | spec_upper_connection_size |  | x
Level Displacer | Upper Connection Type | spec_upper_connection_type |  | x
Level Probe (Note 1) | Probe Amplifier Electrical Connection | spec_probe_amplifier_electrical_connection |  | x
Level Probe (Note 1) | Probe Amplifier Enclosure | spec_probe_amplifier_enclosure |  | x
Level Probe (Note 1) | Probe Amplifier Location | spec_probe_amplifier_location |  | x
Level Probe (Note 1) | Probe Amplifier Power Supply | spec_probe_amplifier_power_supply |  | x
Level Probe (Note 1) | Probe Cable Length | spec_probe_cable_length |  | x
Level Probe (Note 1) | Probe Compensation Cable | spec_probe_compensation_cable |  | x
Level Probe (Note 1) | Probe Diameter | spec_probe_diameter |  | x
Level Probe (Note 1) | Probe Electrical Connection | spec_probe_electrical_connection |  | x
Level Probe (Note 1) | Probe Gland Material | spec_probe_gland_material |  | x
Level Probe (Note 1) | Probe Gland Size | spec_probe_gland_size |  | x
Level Probe (Note 1) | Probe Inactive Length | spec_probe_inactive_length |  | x
Level Probe (Note 1) | Probe Insertion Length | spec_probe_insertion_length |  | x
Level Probe (Note 1) | Probe Lining Material | spec_probe_lining_material |  | x
Level Probe (Note 1) | Probe Material | spec_probe_material |  | x
Level Probe (Note 1) | Probe Mounting Location | spec_probe_mounting_location |  | x
Level Probe (Note 1) | Probe Mounting Position/Orientation | spec_probe_mounting_position_orientation |  | x
Level Probe (Note 1) | Probe O-Ring Material | spec_probe_o_ring_material |  | x
Level Probe (Note 1) | Probe Process Connection | spec_probe_process_connection |  | x
Level Probe (Note 1) | Probe Style | spec_probe_style |  | x
Level Probe (Note 1) | Probe Type | spec_probe_type |  | x
Purchase Data | Calibration Certificate | cmpnt_calibration_certificate | x | x | x | x | x
Purchase Data | Certification | cmpnt_certification | x | x | x | x | x
Purchase Data | Item Number | cmpnt_item_no | x | x | x | x | x
Purchase Data | Manufacturer | cmpnt_manufacturer | x | x | x | x | x
Purchase Data | Material Certificate | cmpnt_material_certificate | x | x | x | x | x
Purchase Data | Model | cmpnt_model_no | x | x | x | x | x
Purchase Data | NACE Compliance | cmpnt_nace_compliance | x | x | x | x | x
Purchase Data | Price | cmpnt_price | x | x | x | x | x
Purchase Data | Purchase Order Number | cmpnt_purchase_order_no | x | x | x | x | x
Purchase Data | Serial Number | cmpnt_serial_no | x | x | x | x | x
Purchase Data | Supplier | cmpnt_supplier | x | x | x | x | x
Purchase Data | Test Certificate | cmpnt_test_certificate | x | x | x | x | x
Remote Seal | Capillary Length high side | spec_capillary_length_high_side |  |  | x
Remote Seal | Capillary Length low side | spec_capillary_length_low_side |  |  | x
Remote Seal | Capillary Material | spec_capillary_material |  |  | x
Remote Seal | Capillary Type | spec_capillary_type |  |  | x
Remote Seal | Diaphragm Fill Fluid high side | spec_diaphragm_fill_fluid_high_side |  |  | x
Remote Seal | Diaphragm Fill Fluid low side | spec_diaphragm_fill_fluid_low_side |  |  | x
Remote Seal | Diaphragm Material | spec_diaphragm_material |  |  | x
Remote Seal | Housing Material high side lower | spec_material_high_side_lower |  |  | x
Remote Seal | Housing Material high side upper | spec_material_high_side_upper |  |  | x
Remote Seal | Housing Material low side lower | spec_material_low_side_lower |  |  | x
Remote Seal | Housing Material low side upper | spec_material_low_side_upper |  |  | x
Switch | Conduit/Cable Connection Size | spec_switch_connection_size | x | x | x | x
Switch | Contact Arrangement | spec_switch_contact_arrangement | x | x | x | x
Switch | Contact Rating | spec_switch_contact_rating | x | x | x | x
Switch | Differential Range | spec_switch_differential_range | x | x | x | x
Switch | Set Point | spec_switch_set_point | x | x | x | x
Switch | Switch Action (increase/decrease) | spec_switch_on_increase_decrease | x | x | x | x
Switch | Type | spec_switch_type | x | x | x | x
Temperature Element | Element Diameter | spec_element_diameter |  |  |  | x
Temperature Element | Element Length | spec_element_length |  |  |  | x
Temperature Element | Extension Length | spec_extension_length |  |  |  | x
Temperature Element | Extension Type | spec_extension_type |  |  |  | x
Temperature Element | Grounded or Ungrounded | spec_grounded_ungrounded |  |  |  | x
Temperature Element | RTD Material | spec_RTD_material |  |  |  | x
Temperature Element | RTD Resistance | spec_RTD_resistance |  |  |  | x
Temperature Element | Sheath Material | spec_sheath_material |  |  |  | x
Temperature Element | Single/Double or Other | spec_single_double_element |  |  |  | x
Temperature Element | T/C Type | spec_thermocouple_type |  |  |  | x
Temperature Element | Type | spec_component_type |  |  |  | x
Temperature Element | Wire Material/Gauge | spec_wire_material_gauge |  |  |  | x
Thermowell | Bore Diameter | spec_TW_bore_diameter |  |  |  | x
Thermowell | Coating | spec_TW_coating |  |  |  | x
Thermowell | Construction Type | spec_TW_construction_type |  |  |  | x
Thermowell | Element Connection | spec_TW_element_connection |  |  |  | x
Thermowell | Finish | spec_TW_finish |  |  |  | x
Thermowell | Lagging Ext. (T-Dim.) | spec_TW_T_dimension |  |  |  | x
Thermowell | Length Below Thread/Flange (U-Dim.) | spec_TW_U_dimension |  |  |  | x
Thermowell | Material | spec_TW_material |  |  |  | x
Thermowell | Outside Dia. @ Shank | spec_TW_outside_diameter_shank |  |  |  | x
Thermowell | Outside Dia. @ Tip | spec_TW_outside_diameter_tip |  |  |  | x
Thermowell | Overall Length | spec_TW_overall_length |  |  |  | x
Thermowell | Plug & Chain | spec_TW_plug_and_chain |  |  |  | x
Thermowell | Process Connection | spec_TW_process_connection |  |  |  | x
Thermowell | Sheathing | spec_TW_sheathing |  |  |  | x
Thermowell | Stamping | spec_TW_stamping |  |  |  | x
Thermowell | Tapered Length | spec_TW_tapered_length |  |  |  | x
Thermowell | Tip Thickness | spec_TW_tip_thickness |  |  |  | x
Thermowell | Treatments | spec_TW_treatments |  |  |  | x
Transmitter | Accuracy | spec_accuracy | x | x | x | x
Transmitter | Accuracy Rating Reference Base | spec_accuracy_reference_base | x | x | x | x
Transmitter | calibration Range (max) | spec_calib_range_max | x | x | x | x
Transmitter | Calibration Range (min) | spec_calib_range_min | x | x | x | x
Transmitter | calibration Range (uom) | spec_calib_range_uom | x | x | x | x
Transmitter | Control System Range (max) | spec_control_system_range_max | x | x | x | x
Transmitter | Control System Range (min) | spec_control_system_range_min | x | x | x | x
Transmitter | Control System Range (uom) | spec_control_system_range_uom | x | x | x | x
Transmitter | Digital Communication Protocol | spec_digital_communication_protocol | x | x | x | x
Transmitter | Electrical Connection | spec_electrical_connection | x | x | x | x
Transmitter | Elevation | spec_xmtr_elevation | x | x | x | x
Transmitter | Failsafe Direction | spec_failsafe_direction | x | x | x | x
Transmitter | Instrument Range (max) | spec_inst_range_max | x | x | x | x
Transmitter | Instrument Range (min) | spec_inst_range_min | x | x | x | x
Transmitter | Instrument Range (uom) | spec_inst_range_uom | x | x | x | x
Transmitter | Integral Display | spec_integral_display | x | x | x | x
Transmitter | Isolation Signal | spec_isolation_signal | x | x | x | x
Transmitter | Lightning Protection | spec_lightning_protection | x | x | x | x
Transmitter | Linearization | spec_linearization | x | x | x | x
Transmitter | Open Input Latching | spec_open_input_latching | x | x | x | x
Transmitter | Output Signal Type | spec_output_signal_type | x | x | x | x
Transmitter | Process Connection | spec_process_connection | x | x | x | x
Transmitter | Required Range (max) | pd_required_range_max | x | x | x | x
Transmitter | Required Range (min) | pd_required_range_min | x | x | x | x
Transmitter | Required Range (uom) | pd_required_range_uid | x | x | x | x
Transmitter | Response Time | spec_response_time | x | x | x | x
Transmitter | Static Pressure | spec_static_pressure | x | x | x | x
Transmitter | Suppression | spec_xmtr_suppression | x | x | x | x
Transmitter | T/C Fault Detection | spec_TC_fault_detection |  |  |  | x
Transmitter | Totalizer | spec_totalizer | x
Transmitter | Transmitter Body Material | spec_transmitter_body_material | x | x | x | x
Transmitter | Transmitter Body Rating | spec_transmitter_body_rating | x | x | x | x
Transmitter | Transmitter Extension Length | spec_transmitter_extension_length | x | x | x
Transmitter | Transmitter Extension Material | spec_transmitter_extension_material | x | x | x
Transmitter | Transmitter Fill Fluid | spec_xmtr_fill_fluid | x | x | x | x
Transmitter | Transmitter Flange Material | spec_transmitter_flange_material | x | x | x
Transmitter | Transmitter Sensor Material | spec_transmitter_sensor_material | x | x | x
Transmitter | Up / Down on Burnout Failure | spec_burnout_fail_mode |  |  |  | x
Transmitter | Up / Down on Electrical Failure | spec_electrical_fail_mode | x | x | x | x
Transmitter | Wetted O-Rings Material | spec_wetted_o_rings_material | x | x | x
Units of Measure | Base Pressure UOM | uom_pressure_base |  |  | x |  | x
Units of Measure | Base Temperature UOM | uom_temperature_base |  |  |  | x | x
Units of Measure | Conductivity UOM | uom_conductivity | x | x
Units of Measure | Critical Pressure UOM | uom_critical_pressure | x |  | x |  | x
Units of Measure | Density UOM | uom_density | x | x |  |  | x
Units of Measure | Design Pressure UOM | uom_pressure_design |  |  | x |  | x
Units of Measure | Design Temperature UOM | uom_design_temperature |  |  |  | x | x
Units of Measure | Flow UOM | uom_flow | x |  |  |  | x
Units of Measure | Maximum Shutoff Pressure UOM | uom_max_shutoff_pressure | x |  | x |  | x
Units of Measure | Pressure Drop UOM | uom_pressure_drop | x |  | x |  | x
Units of Measure | Pressure UOM | uom_pressure |  |  | x |  | x
Units of Measure | Sound Pressure Level UOM | uom_sound_pressure_level |  |  |  |  | x
Units of Measure | Temperature UOM | uom_temperature |  |  |  | x | x
Units of Measure | Vapor Pressure UOM | uom_vapor_pressure | x |  | x |  | x
Units of Measure | Viscosity UOM | uom_viscosity | x |  |  |  | x

## Comparisons
Valve Classifications
ISA | OSI | Fisher
Valve Operating Parameters | Control Valve | Globe
Linear Motion | Control Valve Style 2 | Angle
Rotary Motion | Ball Valve | Ball
| Butterfly Valve | Segmented Ball
Eccentric Plug
Butterfly
Three-Way